## co2 response morning auto const
OPEN 6.3.4
Fri Dec 8 2023 09:01:21
Unit= | PSC-4468
LCF= | LCF-2246
LCFCals= | -2.29 | -0.22 | -2864
LightSource= | 6400-40 Fluorometer | 1 | 0.16
A/D AvgTime= | 4
Log AvgTime= | 15
Config= | /User/Configs/UserPrefs/LCF_Source-cacao.xml
Remark= | flow at 500
Obs | HHMMSS | FTime | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | CsMchSD | HsMchSD | CrMchSD | HrMchSD | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs
in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out
Remark= | "09:02:13 Launched AutoProg /User/Configs/AutoProgs/A-CiCurve2"
1 | 09:06:28 | 360.5 | 0 | 2.889 | 0.03163 | 339.3859 | 0.57511 | 1.7231 | 29.9517 | 2 | 4.6449 | 0 | 4.6449 | 30.4149 | 29.9517 | 30.391 | 499.9093 | 498.6389 | 25.6759 | 25.9 | 57.3848 | 57.8856 | 499.9728 | 116.4569 | 117.8512 | 97.5126 | -2.4484 | 0.11462 | 0.041435 | 0.0034754 | 0.013621 | 0.002324 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4999 | 0.00057511 | 303.1017 | 303.5649 | 18.6331 | -0.0044112 | 4.2486 | 43.5702 | 17.6701 | 30.1833 | 4.3055 | 0.031416 | 2.5256 | 1.7799 | 0.019654 | 33.0944 | 0.68062 | 58.2692 | 497.7992 | 0.0033817
2 | 09:09:26 | 539 | 0 | 2.2639 | 0.032109 | 275.3281 | 0.59808 | 1.7647 | 30.1777 | 2 | 4.6449 | 0 | 4.6449 | 30.641 | 30.1777 | 30.6215 | 399.9139 | 398.9129 | 25.8097 | 26.0427 | 56.9421 | 57.4562 | 499.9822 | 155.5594 | 155.1915 | 97.512 | -1.2482 | 0.11422 | 0.033665 | 0.0033278 | 0.019349 | 0.0040717 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4999 | 0.00059808 | 303.3277 | 303.791 | 24.8895 | 0.015615 | 4.3041 | 44.1396 | 18.0969 | 30.4094 | 4.3617 | 0.031889 | 2.5395 | 1.8222 | 0.01995 | 26.8478 | 0.6902 | 57.8014 | 398.2549 | 0.0032858
3 | 09:12:33 | 726 | 0 | 1.5301 | 0.037851 | 226.3803 | 0.70221 | 1.7598 | 30.1854 | 2 | 4.6449 | 0 | 4.6449 | 30.745 | 30.1854 | 30.7699 | 300.0649 | 299.3687 | 25.8369 | 26.1105 | 56.6677 | 57.2677 | 499.9817 | 119.4508 | 120.1198 | 97.5177 | -0.24954 | 0.10946 | 0.015251 | 0.0048516 | 0.0168 | 0.0024958 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4999 | 0.00070221 | 303.3354 | 303.895 | 19.1121 | -0.019459 | 4.306 | 44.1564 | 18.046 | 30.4652 | 4.3756 | 0.037545 | 2.5462 | 1.8294 | 0.023493 | 22.0761 | 0.75619 | 57.986 | 298.924 | 0.0029682
4 | 09:15:48 | 921 | 0 | -0.19411 | 0.046282 | 200.8246 | 0.85185 | 1.7494 | 30.0669 | 2 | 4.6449 | 0 | 4.6449 | 30.7065 | 30.0669 | 30.7711 | 200 | 200.0095 | 25.5863 | 25.9182 | 56.2394 | 56.969 | 499.983 | 50.0668 | 50.7632 | 97.5141 | 0.63562 | 0.10628 | 0.032715 | 0.0022941 | 0.03221 | 0.0024429 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4999 | 0.00085185 | 303.2169 | 303.8565 | 8.0107 | -0.083252 | 4.2768 | 43.8587 | 17.9405 | 30.3867 | 4.356 | 0.045826 | 2.5274 | 1.8286 | 0.028682 | 19.5832 | 1.0041 | 58.0343 | 200.0659 | -0.00056305
5 | 09:20:08 | 1181 | 0 | -1.2528 | 0.061571 | 129.9873 | 1.1229 | 1.7392 | 30.0356 | 2 | 4.6449 | 0 | 4.6449 | 30.7009 | 30.0356 | 30.7555 | 100.0064 | 100.4624 | 25.5069 | 25.9445 | 56.0828 | 57.0448 | 499.9941 | 50.0308 | 49.1206 | 97.5139 | 1.2197 | 0.10545 | 0.02814 | 0.0028269 | 0.015307 | 0.0032448 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5 | 0.0011229 | 303.1856 | 303.8509 | 8.0049 | -0.12766 | 4.2692 | 43.7801 | 17.8357 | 30.3683 | 4.3514 | 0.060765 | 2.5299 | 1.8215 | 0.03805 | 12.6756 | 1.2939 | 58.3415 | 100.8265 | -0.0072491
6 | 09:24:29 | 1441.5 | 0 | -1.8331 | 0.087522 | 82.6958 | 1.5746 | 1.7247 | 30.0749 | 2 | 4.6449 | 0 | 4.6449 | 30.7145 | 30.0749 | 30.7611 | 49.8919 | 50.5933 | 25.5792 | 26.1926 | 56.197 | 57.5445 | 499.978 | 133.3119 | 135.1772 | 97.512 | 1.3494 | 0.10256 | 0.0090769 | 0.0019564 | 0.0081681 | 0.0016895 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4999 | 0.0015746 | 303.2249 | 303.8645 | 21.3299 | -0.15394 | 4.2788 | 43.8797 | 17.6872 | 30.3947 | 4.358 | 0.085904 | 2.5541 | 1.8039 | 0.053833 | 8.0638 | 1.6345 | 59.0008 | 51.1261 | -0.021154
7 | 09:28:49 | 1701.5 | 0 | 2.9482 | 0.073006 | 322.4071 | 1.3388 | 1.7526 | 30.1372 | 2 | 4.6449 | 0 | 4.6449 | 30.7746 | 30.1372 | 30.8135 | 400.0022 | 398.6094 | 25.5436 | 26.0651 | 55.9245 | 57.0664 | 499.9929 | 71.85 | 71.5376 | 97.5089 | -1.2999 | 0.11142 | 0.036294 | 0.0070317 | 0.030463 | 0.0086766 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5 | 0.0013388 | 303.2872 | 303.9246 | 11.496 | -0.15187 | 4.2941 | 44.0384 | 17.9733 | 30.4559 | 4.3733 | 0.071876 | 2.5416 | 1.8317 | 0.045023 | 31.4376 | 0.80883 | 58.3593 | 397.7525 | 0.0043257
8 | 09:31:30 | 1862.5 | 0 | 2.2719 | 0.036945 | 289.3887 | 0.70136 | 1.8007 | 30.1752 | 2 | 4.6449 | 0 | 4.6449 | 30.7552 | 30.1752 | 30.8014 | 399.9935 | 398.9728 | 25.3949 | 25.6682 | 55.6599 | 56.259 | 499.9796 | 80.9107 | 81.1931 | 97.5075 | -1.294 | 0.11647 | 0.032001 | 0.0057369 | 0.037959 | 0.0067759 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4999 | 0.00070136 | 303.3252 | 303.9052 | 12.9457 | -0.041874 | 4.3035 | 44.1352 | 18.467 | 30.4652 | 4.3756 | 0.036654 | 2.5028 | 1.8728 | 0.022935 | 28.2176 | 0.72533 | 56.9871 | 398.3125 | 0.0032504
9 | 09:35:19 | 2091.5 | 0 | 2.6982 | 0.023333 | 300.6681 | 0.44951 | 1.8224 | 30.1173 | 2 | 4.6449 | 0 | 4.6449 | 30.6838 | 30.1173 | 30.7449 | 500.0302 | 498.8613 | 25.1248 | 25.3 | 55.29 | 55.6757 | 499.9948 | 76.4376 | 74.9887 | 97.5022 | -2.5899 | 0.11643 | 0.028598 | 0.0038246 | 0.019369 | 0.0026674 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5 | 0.00044951 | 303.2673 | 303.8338 | 12.23 | -0.0029179 | 4.2892 | 43.9912 | 18.6912 | 30.4005 | 4.3595 | 0.023216 | 2.4668 | 1.8926 | 0.01452 | 29.3158 | 0.60271 | 56.2067 | 498.0771 | 0.0030448
10 | 09:39:39 | 2351.5 | 0 | 3.2988 | 0.021761 | 340.3689 | 0.42218 | 1.8349 | 30.0549 | 2 | 4.6449 | 0 | 4.6449 | 30.6258 | 30.0549 | 30.6783 | 599.9382 | 598.5176 | 24.8512 | 25.0159 | 54.8665 | 55.23 | 499.9755 | 54.2826 | 55.7766 | 97.4966 | -4.0293 | 0.1218 | 0.071933 | 0.0036825 | 0.060764 | 0.0046969 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4999 | 0.00042218 | 303.2049 | 303.7758 | 8.6852 | -0.011646 | 4.2739 | 43.8365 | 18.8206 | 30.3404 | 4.3445 | 0.02166 | 2.439 | 1.9055 | 0.013546 | 33.1848 | 0.56869 | 55.743 | 597.5588 | 0.0030773
11 | 09:43:59 | 2612 | 0 | 4.1004 | 0.01467 | 332.2209 | 0.28539 | 1.8375 | 29.9975 | 2 | 4.6449 | 0 | 4.6449 | 30.5446 | 29.9975 | 30.5999 | 800.033 | 798.3016 | 24.7338 | 24.8451 | 54.861 | 55.1079 | 499.9775 | 84.7964 | 84.221 | 97.4959 | -6.9648 | 0.12437 | 0.034708 | 0.0015816 | 0.046851 | 0.0021827 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4999 | 0.00028539 | 303.1475 | 303.6946 | 13.5674 | 0.028837 | 4.2598 | 43.6925 | 18.8473 | 30.2711 | 4.3272 | 0.014623 | 2.4223 | 1.9049 | 0.0091438 | 32.3902 | 0.41616 | 55.4736 | 797.1099 | 0.0028536
12 | 09:47:13 | 2806 | 0 | 5.2019 | 0.01248 | 308.8253 | 0.24325 | 1.8404 | 29.9462 | 2 | 4.6449 | 0 | 4.6449 | 30.4824 | 29.9462 | 30.5409 | 999.8858 | 997.7078 | 24.5915 | 24.6864 | 54.7407 | 54.9519 | 499.9708 | 79.0342 | 79.7313 | 97.4976 | -10.3373 | 0.1164 | 0.028218 | 0.0030765 | 0.029743 | 0.0020981 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4999 | 0.00024325 | 303.0962 | 303.6324 | 12.6455 | 0.031896 | 4.2473 | 43.5631 | 18.8767 | 30.2143 | 4.3132 | 0.012446 | 2.4069 | 1.9063 | 0.0077819 | 30.1097 | 0.30953 | 55.2574 | 996.1959 | 0.0028854
13 | 09:51:34 | 3066.5 | 0 | 6.1821 | 0.012282 | 365.8509 | 0.24089 | 1.8521 | 29.9146 | 2 | 4.6449 | 0 | 4.6449 | 30.4241 | 29.9146 | 30.4755 | 1200.171 | 1197.5826 | 24.3948 | 24.4888 | 54.4831 | 54.693 | 499.9714 | 99.8666 | 99.3331 | 97.4953 | -13.8942 | 0.11959 | 0.11387 | 0.0013544 | 0.074615 | 0.0030954 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4999 | 0.00024089 | 303.0646 | 303.5741 | 15.9787 | 0.043756 | 4.2396 | 43.4852 | 18.9964 | 30.1694 | 4.3021 | 0.01225 | 2.3875 | 1.9145 | 0.0076592 | 35.6688 | 0.30549 | 54.8975 | 1195.7859 | 0.0028381
14 | 09:55:54 | 3327 | 0 | 6.984 | 0.011129 | 363.338 | 0.21887 | 1.857 | 29.8545 | 2 | 4.6449 | 0 | 4.6449 | 30.3589 | 29.8545 | 30.4092 | 1400.1425 | 1397.2263 | 24.2022 | 24.2876 | 54.2552 | 54.4467 | 499.9615 | 67.7736 | 67.3253 | 97.4953 | -17.6857 | 0.1219 | 0.06646 | 0.003446 | 0.098871 | 0.0013591 | 0.5 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4998 | 0.00021887 | 303.0045 | 303.5089 | 10.8438 | 0.027641 | 4.225 | 43.3352 | 19.0476 | 30.1067 | 4.2866 | 0.011102 | 2.3679 | 1.9187 | 0.0069414 | 35.4238 | 0.26004 | 54.6165 | 1395.1965 | 0.002734