## leaf stage survey_
OPEN 6.3.4
Fri Dec 8 2023 15:37:54
Unit= | PSC-4468
LCF= | LCF-2246
LCFCals= | -2.29 | -0.22 | -2864
LightSource= | 6400-40 Fluorometer | 1 | 0.16
A/D AvgTime= | 4
Log AvgTime= | 15
Config= | /User/Configs/UserPrefs/LCF_Source-cacao-survey.xml
Remark= | 420pm survey canopy
Obs | HHMMSS | stage | FTime | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | CsMchSD | HsMchSD | CrMchSD | HrMchSD | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs
in | in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out
1 | 15:39:15 | D | 157 | 0 | 1.453 | 0.015509 | 339.2419 | 0.2326 | 1.4184 | 27.6547 | 2 | 4.6449 | 0 | 4.6449 | 28.0969 | 27.6547 | 28.0468 | 500.2865 | 499.6588 | 23.5626 | 23.6534 | 60.0548 | 60.2864 | 499.9887 | 116.0914 | 65.7713 | 97.2681 | -2.4467 | 0.23213 | 0.036969 | 0.0024334 | 0.03685 | 0.0037116 | 0.5 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4999 | 0.0002326 | 300.8047 | 301.2469 | 18.5746 | 0.051553 | 3.7191 | 38.2358 | 14.5823 | 27.8758 | 3.7674 | 0.015458 | 2.3007 | 1.4667 | 0.0096656 | 32.9974 | 0.67895 | 60.7751 | 499.2365 | 0.0017688
2 | 15:41:07 | D | 270 | 0 | 1.1618 | 0.029638 | 425.0692 | 0.45242 | 1.4475 | 27.8857 | 2 | 4.6449 | 0 | 4.6449 | 28.3464 | 27.8857 | 28.2927 | 500.0403 | 499.4851 | 23.6971 | 23.8737 | 59.5271 | 59.9709 | 499.9498 | 115.8069 | 64.5604 | 97.2685 | -2.4708 | 0.23633 | 0.12078 | 0.0030458 | 0.088558 | 0.0020932 | 0.5 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4997 | 0.00045242 | 301.0357 | 301.4964 | 18.5291 | 0.015278 | 3.7696 | 38.7549 | 14.8812 | 28.116 | 3.8206 | 0.02945 | 2.3222 | 1.4984 | 0.018423 | 41.3458 | 0.85101 | 60.6118 | 499.1475 | 0.0014108
3 | 15:43:07 | D | 388.5 | 0 | 0.26802 | 0.055919 | 479.8915 | 0.84116 | 1.4342 | 27.9177 | 2 | 4.6449 | 0 | 4.6449 | 28.5094 | 27.9177 | 28.5018 | 499.8227 | 499.5474 | 23.7544 | 24.0827 | 59.108 | 59.9251 | 499.9818 | 116.6986 | 57.3558 | 97.2681 | -2.505 | 0.23415 | 0.02649 | 0.0043796 | 0.046457 | 0.0054868 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4999 | 0.00084116 | 301.0677 | 301.6594 | 18.6718 | -0.04365 | 3.7767 | 38.8274 | 14.7446 | 28.2136 | 3.8423 | 0.055254 | 2.3425 | 1.4999 | 0.034593 | 46.6781 | 0.96065 | 61.2582 | 499.4695 | 0.00032872
4 | 15:45:11 | D | 512.5 | 0 | 1.7056 | 0.037568 | 414.9402 | 0.57368 | 1.4504 | 27.9067 | 2 | 4.6449 | 0 | 4.6449 | 28.531 | 27.9067 | 28.5698 | 500.1276 | 499.3307 | 23.6673 | 23.8913 | 58.8174 | 59.3741 | 499.9639 | 116.3422 | 58.3096 | 97.2672 | -2.5704 | 0.23659 | 0.10986 | 0.0012076 | 0.11766 | 0.00079712 | 0.5 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4998 | 0.00057368 | 301.0567 | 301.681 | 18.6148 | 0.0025899 | 3.7742 | 38.8029 | 14.9115 | 28.2188 | 3.8435 | 0.037266 | 2.3238 | 1.5197 | 0.023318 | 40.3601 | 0.83099 | 60.6458 | 498.835 | 0.0020736
5 | 15:47:39 | D | 662 | 0 | 0.91104 | 0.022636 | 423.007 | 0.36186 | 1.5131 | 28.1728 | 2 | 4.6449 | 0 | 4.6449 | 28.736 | 28.1728 | 28.7495 | 499.9552 | 499.5184 | 23.7111 | 23.8524 | 58.2307 | 58.5777 | 499.9775 | 116.1259 | 55.1719 | 97.2697 | -2.5669 | 0.2436 | 0.098025 | 0.00215 | 0.084116 | 0.0012578 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4999 | 0.00036186 | 301.3228 | 301.886 | 18.5801 | 0.035397 | 3.8332 | 39.4083 | 15.5558 | 28.4544 | 3.8965 | 0.022526 | 2.3201 | 1.5764 | 0.014089 | 41.1458 | 0.84683 | 59.4348 | 499.2536 | 0.0010846
6 | 15:49:20 | D | 763 | 0 | 2.1089 | 0.023256 | 342.2117 | 0.38186 | 1.554 | 28.395 | 2 | 4.6449 | 0 | 4.6449 | 28.9802 | 28.395 | 28.9823 | 499.9448 | 499.0249 | 23.795 | 23.9441 | 57.6187 | 57.9797 | 499.9769 | 115.5142 | 35.3402 | 97.2741 | -2.7034 | 0.24332 | 0.086 | 0.0035419 | 0.057956 | 0.0024504 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4999 | 0.00038186 | 301.545 | 302.1302 | 18.4823 | 0.032709 | 3.8831 | 39.9191 | 15.9751 | 28.6876 | 3.9496 | 0.02314 | 2.3291 | 1.6205 | 0.014473 | 33.2883 | 0.68576 | 58.8674 | 498.412 | 0.0024908
7 | 15:51:37 | D | 898.5 | 0 | 0.93456 | 0.021574 | 417.5854 | 0.36438 | 1.5973 | 28.6398 | 2 | 4.6449 | 0 | 4.6449 | 29.2258 | 28.6398 | 29.2025 | 500.0592 | 499.6126 | 23.9267 | 24.069 | 57.1228 | 57.4624 | 499.9851 | 115.5514 | 25.4072 | 97.2775 | -2.6311 | 0.24959 | 0.14563 | 0.0022886 | 0.14132 | 0.0014686 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4999 | 0.00036438 | 301.7898 | 302.3758 | 18.4882 | 0.035764 | 3.9387 | 40.4894 | 16.4204 | 28.9328 | 4.0062 | 0.021474 | 2.3414 | 1.6648 | 0.01343 | 40.6217 | 0.83582 | 58.2862 | 499.341 | 0.0010909
8 | 15:54:03 | C | 1046 | 0 | -0.3576 | 0.015283 | 523.902 | 0.2572 | 1.5896 | 28.6254 | 2 | 4.6449 | 0 | 4.6449 | 29.3071 | 28.6254 | 29.3475 | 500.0933 | 500.1849 | 24.0136 | 24.114 | 57.0637 | 57.3022 | 499.98 | 116.8315 | 39.8128 | 97.2809 | -2.6695 | 0.2487 | 0.019655 | 0.0013328 | 0.041729 | 0.0012085 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4999 | 0.0002572 | 301.7754 | 302.4571 | 18.693 | 0.058912 | 3.9354 | 40.4542 | 16.3402 | 28.9662 | 4.0139 | 0.015232 | 2.3458 | 1.6681 | 0.0095247 | 50.9656 | 1.0474 | 58.3975 | 500.2888 | -0.00041742
9 | 15:56:30 | C | 1193 | 0 | 0.23659 | 0.024538 | 471.1788 | 0.41138 | 1.5866 | 28.639 | 2 | 4.6449 | 0 | 4.6449 | 29.329 | 28.639 | 29.3862 | 499.9337 | 499.7568 | 24.0158 | 24.1764 | 56.9978 | 57.379 | 499.9774 | 115.3154 | 58.2166 | 97.2827 | -2.6355 | 0.24503 | 0.11823 | 0.0030192 | 0.16057 | 0.0019451 | 0.5 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4999 | 0.00041138 | 301.789 | 302.479 | 18.4505 | 0.032445 | 3.9385 | 40.4853 | 16.3089 | 28.984 | 4.018 | 0.024409 | 2.3519 | 1.6661 | 0.015267 | 45.8376 | 0.94282 | 58.5893 | 499.6881 | 0.0002774
10 | 15:58:50 | D | 1331.5 | 0 | 1.8614 | 0.02645 | 373.9812 | 0.4549 | 1.6279 | 28.8519 | 2 | 4.6449 | 0 | 4.6449 | 29.4601 | 28.8519 | 29.4952 | 500.0388 | 499.2034 | 24.0764 | 24.254 | 56.7132 | 57.1314 | 499.9873 | 115.6431 | 76.3537 | 97.2864 | -2.5957 | 0.24172 | 0.029571 | 0.0021214 | 0.033836 | 0.0016495 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4999 | 0.0004549 | 302.0019 | 302.6101 | 18.5029 | 0.021664 | 3.9874 | 40.9866 | 16.7326 | 29.156 | 4.0582 | 0.0263 | 2.3596 | 1.6986 | 0.016451 | 36.3833 | 0.74916 | 58.0378 | 498.6624 | 0.0021664
11 | 16:00:43 | D | 1445 | 0 | 1.5997 | 0.021629 | 368.0928 | 0.38199 | 1.6695 | 29.0761 | 2 | 4.6449 | 0 | 4.6449 | 29.662 | 29.0761 | 29.6787 | 499.9223 | 499.2062 | 24.2107 | 24.3598 | 56.3735 | 56.7206 | 499.9973 | 115.4053 | 73.982 | 97.2929 | -2.5258 | 0.2506 | 0.040369 | 0.0033893 | 0.057766 | 0.0029513 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5 | 0.00038199 | 302.2261 | 302.812 | 18.4649 | 0.032822 | 4.0395 | 41.5191 | 17.1593 | 29.3691 | 4.1085 | 0.021528 | 2.37 | 1.7384 | 0.013464 | 35.8128 | 0.73736 | 57.4617 | 498.7412 | 0.0018431
12 | 16:02:54 | C | 1576 | 0 | 0.00061275 | 0.0089858 | 485.6735 | 0.16248 | 1.7041 | 29.2659 | 2 | 4.6449 | 0 | 4.6449 | 29.8591 | 29.2659 | 29.8682 | 500.0983 | 500.0655 | 24.3985 | 24.4619 | 56.1705 | 56.3164 | 499.9957 | 116.0273 | 76.3662 | 97.2935 | -2.5244 | 0.2477 | 0.051236 | 0.0043024 | 0.036851 | 0.0030977 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5 | 0.00016248 | 302.4159 | 303.0091 | 18.5644 | 0.070482 | 4.0841 | 41.9768 | 17.5149 | 29.5625 | 4.1545 | 0.0089684 | 2.38 | 1.7746 | 0.0056068 | 47.2529 | 0.97122 | 56.9244 | 500.0653 | 6.9752e-07
13 | 16:05:05 | D | 1706.5 | 0 | 1.0204 | 0.011734 | 347.6628 | 0.21403 | 1.7195 | 29.41 | 2 | 4.6449 | 0 | 4.6449 | 29.982 | 29.41 | 29.9857 | 499.9422 | 499.4913 | 24.5698 | 24.6533 | 56.1678 | 56.3586 | 500.0074 | 115.0426 | 71.5749 | 97.2952 | -2.5298 | 0.2486 | 0.0434 | 0.004017 | 0.029756 | 0.0026904 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5 | 0.00021403 | 302.56 | 303.132 | 18.4068 | 0.060277 | 4.1182 | 42.3267 | 17.6735 | 29.696 | 4.1866 | 0.011705 | 2.3986 | 1.788 | 0.007318 | 33.8259 | 0.69603 | 56.9072 | 499.1947 | 0.0011633
14 | 16:07:21 | C | 1842.5 | 0 | -0.35572 | 0.02652 | 507.4035 | 0.46469 | 1.6574 | 29.2151 | 2 | 4.6449 | 0 | 4.6449 | 29.9138 | 29.2151 | 29.9597 | 499.9785 | 500.0279 | 24.6362 | 24.8174 | 56.5417 | 56.9577 | 500.0016 | 116.3414 | 84.2038 | 97.2969 | -2.5264 | 0.24395 | 0.084726 | 0.0012045 | 0.076272 | 0.0028317 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5 | 0.00046469 | 302.3651 | 303.0638 | 18.6146 | 0.024678 | 4.0721 | 41.8523 | 17.0349 | 29.5644 | 4.155 | 0.026369 | 2.4147 | 1.7404 | 0.016494 | 49.3688 | 1.0148 | 58.1331 | 500.1313 | -0.00041348
15 | 16:09:18 | D | 1959.5 | 0 | 2.4266 | 0.026135 | 337.9429 | 0.45505 | 1.6471 | 29.1346 | 2 | 4.6449 | 0 | 4.6449 | 29.8365 | 29.1346 | 29.9192 | 499.9866 | 498.9251 | 24.5507 | 24.7283 | 56.5988 | 57.0081 | 499.9735 | 115.8048 | 88.2312 | 97.3007 | -2.6312 | 0.24367 | 0.048478 | 0.0027049 | 0.017887 | 0.0024788 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4999 | 0.00045505 | 302.2846 | 302.9865 | 18.5288 | 0.026089 | 4.0532 | 41.6566 | 16.9283 | 29.4855 | 4.1362 | 0.025989 | 2.4061 | 1.7301 | 0.016256 | 32.8821 | 0.67734 | 58.2023 | 498.2198 | 0.0028347
16 | 16:13:40 | C | 2221.5 | 0 | -0.85436 | 0.029039 | 533.0165 | 0.50791 | 1.6557 | 29.1575 | 2 | 4.6449 | 0 | 4.6449 | 29.8423 | 29.1575 | 29.9073 | 499.9855 | 500.2256 | 24.4973 | 24.6954 | 56.4575 | 56.9141 | 500.0726 | 185.161 | 80.66 | 97.3023 | -2.6336 | 0.23443 | 0.029478 | 0.0014987 | 0.042504 | 0.0017625 | 0.5 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5004 | 0.00050791 | 302.3075 | 302.9923 | 29.6258 | 0.058735 | 4.0586 | 41.7111 | 17.0156 | 29.4999 | 4.1396 | 0.028859 | 2.4029 | 1.7367 | 0.018053 | 51.8637 | 1.0656 | 58.0671 | 500.4739 | -0.00099127
17 | 16:15:37 | D | 2340 | 0 | 0.78296 | 0.015062 | 403.5199 | 0.26633 | 1.6688 | 29.1856 | 2 | 4.6449 | 0 | 4.6449 | 29.8629 | 29.1856 | 29.913 | 500.1001 | 499.7336 | 24.524 | 24.6279 | 56.4529 | 56.6921 | 499.9981 | 115.5975 | 64.2229 | 97.3033 | -2.5331 | 0.24175 | 0.036176 | 0.0010486 | 0.03636 | 0.00076255 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5 | 0.00026633 | 302.3356 | 303.0129 | 18.4956 | 0.05658 | 4.0652 | 41.7784 | 17.1505 | 29.5242 | 4.1454 | 0.015014 | 2.3964 | 1.749 | 0.0093879 | 39.2638 | 0.80747 | 57.6764 | 499.5061 | 0.00090406
18 | 16:17:35 | D | 2456.5 | 0 | 0.77505 | 0.025481 | 437.5384 | 0.44633 | 1.6567 | 29.1747 | 2 | 4.6449 | 0 | 4.6449 | 29.8579 | 29.1747 | 29.9008 | 500.0258 | 499.6266 | 24.5517 | 24.7258 | 56.5321 | 56.933 | 499.9839 | 115.362 | 68.449 | 97.3024 | -2.5991 | 0.24096 | 0.059803 | 0.0017953 | 0.057476 | 0.0017348 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4999 | 0.00044633 | 302.3247 | 303.0079 | 18.4579 | 0.026447 | 4.0626 | 41.7524 | 17.0266 | 29.5163 | 4.1435 | 0.025342 | 2.4059 | 1.7376 | 0.015851 | 42.5735 | 0.87573 | 58.0481 | 499.4014 | 0.00090088
19 | 16:20:44 | C | 2646 | 0 | -0.71389 | 0.023698 | 533.8043 | 0.41837 | 1.6691 | 29.253 | 2 | 4.6449 | 0 | 4.6449 | 29.8651 | 29.253 | 29.9016 | 499.8586 | 500.0605 | 24.6221 | 24.7853 | 56.6769 | 57.0526 | 499.9937 | 116.183 | 12.1872 | 97.3124 | -2.7722 | 0.23757 | 0.028979 | 0.0022616 | 0.029381 | 0.00068825 | 0.5 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5 | 0.00041837 | 302.403 | 303.0151 | 18.5893 | 0.028422 | 4.081 | 41.9373 | 17.152 | 29.559 | 4.1537 | 0.023578 | 2.4119 | 1.7418 | 0.014747 | 51.9458 | 1.0675 | 57.9042 | 500.2679 | -0.0008263
20 | 16:22:48 | D | 2771 | 0 | 1.5703 | 0.023365 | 378.6765 | 0.41211 | 1.6675 | 29.2529 | 2 | 4.6449 | 0 | 4.6449 | 29.8526 | 29.2529 | 29.8822 | 499.82 | 499.1096 | 24.6406 | 24.8013 | 56.7609 | 57.1312 | 499.9821 | 115.5099 | 35.6635 | 97.3138 | -2.7433 | 0.23992 | 0.10736 | 0.003463 | 0.12349 | 0.0013066 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4999 | 0.00041211 | 302.4029 | 303.0026 | 18.4816 | 0.028494 | 4.081 | 41.9365 | 17.1352 | 29.5527 | 4.1522 | 0.023248 | 2.4135 | 1.7387 | 0.014541 | 36.8505 | 0.7587 | 57.9412 | 498.6532 | 0.0018246
21 | 16:24:54 | C | 2895.5 | 0 | -0.38614 | 0.013989 | 529.9174 | 0.2498 | 1.6847 | 29.2939 | 2 | 4.6449 | 0 | 4.6449 | 29.8454 | 29.2939 | 29.8702 | 500.2892 | 500.3937 | 24.6266 | 24.7241 | 56.751 | 56.9755 | 499.9885 | 116.1104 | 22.1572 | 97.3119 | -2.7779 | 0.23811 | 0.11202 | 0.0022319 | 0.1292 | 0.0025445 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4999 | 0.0002498 | 302.4439 | 302.9954 | 18.5777 | 0.053955 | 4.0907 | 42.0369 | 17.3128 | 29.5697 | 4.1563 | 0.013947 | 2.4059 | 1.7503 | 0.0087205 | 51.5673 | 1.059 | 57.5208 | 500.5059 | -0.00044378
22 | 16:27:14 | C | 3035.5 | 0 | -0.29308 | 0.018773 | 510.6511 | 0.33422 | 1.6814 | 29.2866 | 2 | 4.6449 | 0 | 4.6449 | 29.8656 | 29.2866 | 29.8885 | 499.98 | 500.0304 | 24.611 | 24.7414 | 56.6484 | 56.9485 | 499.9856 | 116.2563 | 33.1939 | 97.3103 | -2.7428 | 0.2392 | 0.07161 | 0.0016256 | 0.065838 | 0.0020214 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4999 | 0.00033422 | 302.4366 | 303.0156 | 18.601 | 0.041104 | 4.089 | 42.0199 | 17.2785 | 29.5761 | 4.1578 | 0.018697 | 2.4076 | 1.7502 | 0.011693 | 49.6916 | 1.0212 | 57.6314 | 500.1156 | -0.00033773
23 | 16:28:51 | C | 3132.5 | 0 | -1.7419 | 0.0084978 | 810.3143 | 0.1519 | 1.6845 | 29.264 | 2 | 4.6449 | 0 | 4.6449 | 29.8337 | 29.264 | 29.854 | 499.9391 | 500.6054 | 24.5947 | 24.6539 | 56.7147 | 56.8514 | 499.9927 | 116.4307 | 15.6358 | 97.3102 | -2.727 | 0.2392 | 0.10249 | 0.0017096 | 0.084773 | 0.0035869 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5 | 0.0001519 | 302.414 | 302.9837 | 18.6289 | 0.071434 | 4.0836 | 41.9649 | 17.3109 | 29.5488 | 4.1513 | 0.0084823 | 2.3991 | 1.7522 | 0.0053028 | 78.8519 | 1.6187 | 57.4055 | 501.1117 | -0.0019955
24 | 16:30:28 | D | 3229.5 | 0 | 1.0297 | 0.020446 | 405.8485 | 0.3562 | 1.6464 | 29.0942 | 2 | 4.6449 | 0 | 4.6449 | 29.68 | 29.0942 | 29.7277 | 499.8794 | 499.3963 | 24.497 | 24.636 | 56.9915 | 57.3149 | 499.9781 | 116.0299 | 37.0507 | 97.3111 | -2.7682 | 0.23719 | 0.038507 | 0.0022485 | 0.059697 | 0.0026487 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4999 | 0.0003562 | 302.2442 | 302.83 | 18.5648 | 0.03754 | 4.0437 | 41.5548 | 16.9189 | 29.3871 | 4.1127 | 0.020357 | 2.3974 | 1.7154 | 0.012731 | 39.4936 | 0.81268 | 58.0764 | 499.097 | 0.0011982
25 | 16:32:27 | C | 3350 | 0 | -0.68035 | 0.015302 | 556.9452 | 0.26663 | 1.645 | 29.0588 | 2 | 4.6449 | 0 | 4.6449 | 29.6291 | 29.0588 | 29.6723 | 500.1673 | 500.386 | 24.4603 | 24.5643 | 57.0747 | 57.3174 | 499.9829 | 116.3372 | 39.125 | 97.3133 | -2.6791 | 0.23526 | 0.17043 | 0.0021729 | 0.17287 | 0.0020263 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4999 | 0.00026663 | 302.2088 | 302.7791 | 18.6139 | 0.052067 | 4.0355 | 41.4689 | 16.9046 | 29.344 | 4.1025 | 0.015252 | 2.3904 | 1.7121 | 0.0095368 | 54.1982 | 1.113 | 57.982 | 500.5838 | -0.00078804
26 | 16:34:07 | D | 3450 | 0 | 0.25185 | 0.02094 | 466.6515 | 0.37143 | 1.6762 | 29.2314 | 2 | 4.6449 | 0 | 4.6449 | 29.7496 | 29.2314 | 29.7696 | 499.9106 | 499.7357 | 24.5152 | 24.6601 | 56.8066 | 57.1424 | 499.9928 | 115.3369 | 62.0719 | 97.3121 | -2.7682 | 0.23677 | 0.044554 | 0.0032391 | 0.037721 | 0.0029403 | 0.5 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5 | 0.00037143 | 302.3814 | 302.8996 | 18.4539 | 0.0315 | 4.0759 | 41.8853 | 17.2252 | 29.4905 | 4.1374 | 0.020846 | 2.3997 | 1.7376 | 0.013037 | 45.4109 | 0.9338 | 57.6508 | 499.6625 | 0.00029058