## sample co2 curve fmb_
OPEN 6.3.4
Wed Dec 6 2023 18:02:02
Unit= | PSC-4468
LCF= | LCF-2246
LCFCals= | -2.29 | -0.22 | -2864
LightSource= | 6400-40 Fluorometer | 1 | 0.16
A/D AvgTime= | 4
Config= | /User/Configs/UserPrefs/LCF_Source-cacao.xml
Remark= | test co2 curve
Obs | HHMMSS | FTime | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | CsMchSD | HsMchSD | CrMchSD | HrMchSD | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs
in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out
1 | 18:05:42 | 317.5 | 0 | 1.8165 | 0.026415 | 275.5571 | 0.64108 | 2.3062 | 28.3016 | 2 | 4.6449 | 1 | 9.2897 | 28.2783 | 28.3016 | 28.1925 | 400.0174 | 398.9849 | 15.6501 | 15.9644 | 39.5475 | 40.3417 | 401.4144 | 998.9348 | 65.5651 | 97.4615 | -1.5315 | 0.3008 | 0.038433 | 0.0020651 | 0.028741 | 0.0030478 | 0.66667 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.0071 | 0.00064108 | 301.4516 | 301.4283 | 159.8296 | 0.50066 | 3.8621 | 39.6267 | 23.6623 | 28.2899 | 3.8595 | 0.02634 | 1.5559 | 2.3035 | 0.016469 | 26.8562 | 0.69065 | 38.7539 | 398.7209 | 0.0017656
Remark= | "18:06:04 CO2 Mixer: CO2R -> 300 uml"
2 | 18:15:10 | 885.4999 | 0 | 5.5874 | 0.036449 | 45.3311 | 0.89845 | 2.3443 | 28.4858 | 2 | 4.6449 | 1 | 9.2897 | 28.4628 | 28.4858 | 28.3536 | 299.8532 | 298.2208 | 15.7526 | 15.999 | 39.3833 | 39.9995 | 717.4013 | 1002.3003 | 65.5397 | 97.4657 | -1.5315 | 0.3008 | 0.038433 | 0.0020651 | 0.028741 | 0.0030478 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111215 | 3.587 | 0.00089845 | 301.6358 | 301.6128 | 160.368 | 0.45941 | 3.9036 | 40.0515 | 24.0524 | 28.4743 | 3.901 | 0.036307 | 1.5594 | 2.3417 | 0.022705 | 4.4182 | 0.15201 | 38.4561 | 297.4088 | 0.0072248
Remark= | "18:15:47 CO2 Mixer: CO2R -> 200 uml"
3 | 18:17:24 | 1019.9999 | 0 | 7.7426 | 0.037396 | -135.6991 | 0.91613 | 2.3302 | 28.4497 | 2 | 4.6449 | 1 | 9.2897 | 28.4536 | 28.4497 | 28.3116 | 200.1508 | 197.9401 | 15.8078 | 16.0593 | 39.5429 | 40.172 | 716.8644 | 998.4459 | 65.522 | 97.4663 | -1.5315 | 0.3008 | 0.038433 | 0.0020651 | 0.028741 | 0.0030478 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111215 | 3.5843 | 0.00091613 | 301.5997 | 301.6036 | 159.7513 | 0.4553 | 3.8955 | 39.9673 | 23.908 | 28.4516 | 3.8959 | 0.037246 | 1.5652 | 2.3307 | 0.023292 | -13.2261 | -0.68556 | 38.7039 | 196.8149 | 0.015226
Remark= | "18:17:41 CO2 Mixer: CO2R -> 100 uml"
4 | 18:20:46 | 1222.4999 | 0 | 8.8529 | 0.04585 | -210.5362 | 1.1131 | 2.3121 | 28.2966 | 2 | 4.6449 | 1 | 9.2897 | 28.2931 | 28.2966 | 28.1923 | 100.0022 | 97.5003 | 15.5841 | 15.8899 | 39.3517 | 40.1239 | 716.3923 | 998.4684 | 65.4043 | 97.474 | -1.5315 | 0.3008 | 0.038433 | 0.0020651 | 0.028741 | 0.0030478 | 0.66667 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 3.582 | 0.0011131 | 301.4466 | 301.4431 | 159.7549 | 0.42188 | 3.8609 | 39.61 | 23.7201 | 28.2948 | 3.8606 | 0.045625 | 1.5488 | 2.3117 | 0.028536 | -20.5218 | -2.1593 | 38.7091 | 96.2138 | 0.035617
Remark= | "18:21:07 CO2 Mixer: CO2R -> 30 uml"
5 | 18:22:53 | 1349.4999 | 0 | 8.417 | 0.05427 | -205.5703 | 1.3393 | 2.3515 | 28.5429 | 2 | 4.6449 | 1 | 9.2897 | 28.5011 | 28.5429 | 28.3907 | 42.9158 | 40.5472 | 15.6886 | 16.0571 | 39.1397 | 40.0589 | 715.3172 | 996.0516 | 65.4357 | 97.4743 | -1.5315 | 0.3008 | 0.038433 | 0.0020651 | 0.028741 | 0.0030478 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111235 | 3.5766 | 0.0013393 | 301.6929 | 301.6511 | 159.3682 | 0.38061 | 3.9166 | 40.1809 | 24.1238 | 28.522 | 3.9119 | 0.053955 | 1.5652 | 2.3467 | 0.03375 | -20.0378 | -5.0699 | 38.5837 | 39.3241 | 0.082586
Remark= | "18:25:38 CO2 Mixer: CO2R -> 400 uml"
Remark= | "18:27:52 Flow: H2OS -> 15.96 mmol/mol, resp=med"
6 | 18:29:05 | 1714.0002 | 0 | 2.0489 | 0.043551 | 309.3204 | 1.0761 | 2.352 | 28.5479 | 2 | 4.6449 | 1 | 9.2897 | 28.5512 | 28.5479 | 28.4433 | 400.2915 | 398.9519 | 15.4891 | 16.0615 | 38.5334 | 39.9574 | 369.9901 | 1002.3587 | 65.5233 | 97.4839 | -1.4763 | 0.26932 | 0.026158 | 0.0021978 | 0.046213 | 0.0022279 | 0.33333 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 1.85 | 0.0010761 | 301.6979 | 301.7012 | 160.3774 | 0.43074 | 3.9177 | 40.1886 | 24.1272 | 28.5495 | 3.9181 | 0.043348 | 1.5657 | 2.3524 | 0.027111 | 30.1538 | 0.77533 | 38.5161 | 398.6541 | 0.0019795
7 | 18:30:02 | 1770.5002 | 0 | 2.6955 | 0.049605 | 297.5963 | 1.2457 | 2.3917 | 28.672 | 2 | 4.6449 | 1 | 9.2897 | 28.661 | 28.672 | 28.547 | 400.0116 | 398.9935 | 15.5541 | 15.945 | 38.4501 | 39.4164 | 627.1638 | 1001.4904 | 65.6531 | 97.4857 | -1.4763 | 0.26932 | 0.026158 | 0.0021978 | 0.046213 | 0.0022279 | 0.66667 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 3.1358 | 0.0012457 | 301.822 | 301.811 | 160.2385 | 0.40103 | 3.9461 | 40.4784 | 24.5334 | 28.6665 | 3.9448 | 0.049341 | 1.5544 | 2.3904 | 0.030862 | 29.0114 | 0.74587 | 37.9631 | 398.6018 | 0.0025672
Remark= | "18:30:16 CO2 Mixer: CO2R -> 600 uml"
Remark= | "18:32:11 Flow: H2OS -> 15.96 mmol/mol, resp=med"
8 | 18:34:07 | 2015.5002 | 0 | 2.5508 | 0.019206 | 365.8621 | 0.48054 | 2.3755 | 28.6097 | 2 | 4.6449 | 1 | 9.2897 | 28.5386 | 28.6097 | 28.4147 | 599.9593 | 598.0697 | 15.6495 | 15.9643 | 38.9631 | 39.7469 | 300.4008 | 997.9957 | 64.555 | 97.4893 | -4.0348 | 0.27744 | 0.020652 | 0.0012581 | 0.038044 | 0.0017239 | 0.66667 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 1.502 | 0.00048054 | 301.7597 | 301.6886 | 159.6793 | 0.52486 | 3.9318 | 40.3309 | 24.3666 | 28.5742 | 3.9237 | 0.019166 | 1.5563 | 2.3674 | 0.011982 | 35.6676 | 0.61174 | 37.9617 | 597.699 | 0.0016201
Remark= | "18:34:20 CO2 Mixer: CO2R -> 800 uml"
9 | 18:37:09 | 2197.5002 | 0 | -0.26978 | 0.013714 | 799.235 | 0.34646 | 2.3971 | 28.7087 | 2 | 4.6449 | 1 | 9.2897 | 28.6464 | 28.7087 | 28.5305 | 800.0908 | 800.0851 | 15.716 | 15.9739 | 38.8876 | 39.5257 | 264.4357 | 1001.1036 | 65.3877 | 97.4963 | -4.0348 | 0.27744 | 0.020652 | 0.0012581 | 0.038044 | 0.0017239 | 0.66667 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 1.3222 | 0.00034646 | 301.8587 | 301.7964 | 160.1766 | 0.54967 | 3.9545 | 40.5603 | 24.5864 | 28.6776 | 3.9473 | 0.013693 | 1.5574 | 2.3899 | 0.0085602 | 77.9225 | 0.99894 | 37.7117 | 800.1243 | -0.00012715
Remark= | "18:37:37 CO2 Mixer: CO2R -> 1000 uml"
Remark= | "18:39:40 Flow: H2OS -> 15.96 mmol/mol, resp=med"
10 | 18:41:09 | 2438.0002 | 0 | 4.7012 | 0.011234 | 299.7702 | 0.27754 | 2.3443 | 28.4604 | 2 | 4.6449 | 1 | 9.2897 | 28.4037 | 28.4604 | 28.2883 | 1000.0134 | 995.6738 | 15.6952 | 15.9333 | 39.3899 | 39.9875 | 229.4022 | 999.0204 | 39.7365 | 97.5027 | -10.4468 | 0.27964 | 0.072674 | 0.003392 | 0.090091 | 0.0031844 | 0.66667 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 1.147 | 0.00027754 | 301.6104 | 301.5537 | 159.8433 | 0.56031 | 3.8979 | 39.9773 | 24.0439 | 28.432 | 3.8915 | 0.01122 | 1.5535 | 2.3379 | 0.0070139 | 29.2284 | 0.30107 | 38.201 | 994.9906 | 0.001805
Remark= | "18:41:37 CO2 Mixer: CO2R -> 1200 uml"
Remark= | "18:43:36 Flow: H2OS -> 15.96 mmol/mol, resp=med"
11 | 18:53:04 | 3153.0002 | 0 | 6.1391 | 0.010417 | 219.6069 | 0.25247 | 2.3002 | 28.2809 | 2 | 4.6449 | 1 | 9.2897 | 28.2693 | 28.2809 | 28.1639 | 1199.9917 | 1190.806 | 15.6152 | 15.9696 | 39.5002 | 40.3966 | 140.2128 | 1003.6493 | 39.7567 | 97.5113 | -14.0017 | 0.27703 | 0.055126 | 0.0031374 | 0.045988 | 0.0024958 | 0.33333 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 0.70106 | 0.00025247 | 301.4309 | 301.4193 | 160.5839 | 0.56943 | 3.8574 | 39.5587 | 23.5891 | 28.2751 | 3.8561 | 0.010405 | 1.5572 | 2.2989 | 0.0065045 | 21.4141 | 0.18442 | 38.7352 | 1189.9139 | 0.0019985
Remark= | "18:53:35 CO2 Mixer: CO2R -> 1400 uml"
Remark= | "18:55:13 Flow: H2OS -> 15.96 mmol/mol, resp=med"
12 | 18:57:56 | 3444.0002 | 0 | 5.9998 | 0.0079987 | 157.9512 | 0.19105 | 2.2668 | 28.1259 | 2 | 4.6449 | 1 | 9.2897 | 28.1079 | 28.1259 | 27.9957 | 1400.0117 | 1388.5759 | 15.614 | 15.9572 | 39.8694 | 40.7456 | 109.5706 | 999.9676 | 39.8546 | 97.5101 | -17.849 | 0.27311 | 0.46354 | 0.0053884 | 0.31845 | 0.008047 | 0.66667 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 0.54785 | 0.00019105 | 301.2759 | 301.2579 | 159.9948 | 0.57727 | 3.8228 | 39.2039 | 23.2467 | 28.1169 | 3.8208 | 0.0079918 | 1.556 | 2.2648 | 0.0049955 | 15.4018 | 0.11375 | 39.0737 | 1387.704 | 0.0016894
13 | 18:58:19 | 3467.0002 | 0 | 6.8199 | 0.0092294 | 175.2748 | 0.22085 | 2.2711 | 28.1468 | 2 | 4.6449 | 1 | 9.2897 | 28.1097 | 28.1468 | 28.0037 | 1399.8956 | 1388.5314 | 15.6142 | 15.9607 | 39.8654 | 40.7502 | 125.4203 | 999.8018 | 39.6993 | 97.5096 | -17.849 | 0.27311 | 0.46354 | 0.0053884 | 0.31845 | 0.008047 | 0.66667 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 0.6271 | 0.00022085 | 301.2968 | 301.2597 | 159.9683 | 0.57129 | 3.8274 | 39.2519 | 23.2912 | 28.1283 | 3.8233 | 0.0092202 | 1.5563 | 2.267 | 0.0057635 | 17.091 | 0.12623 | 39.0382 | 1387.5403 | 0.0019188
Remark= | "18:58:32 CO2 Mixer: CO2R -> 1600 uml"
Remark= | "19:00:09 Flow: H2OS -> 15.96 mmol/mol, resp=med"
14 | 19:01:42 | 3670.5002 | 0 | 8.2778 | 0.0083532 | -27.6323 | 0.20644 | 2.3445 | 28.4796 | 2 | 4.6449 | 1 | 9.2897 | 28.4034 | 28.4796 | 28.2916 | 1600.1266 | 1590.059 | 15.7368 | 15.9744 | 39.4991 | 40.0956 | 170.9653 | 996.6321 | 40.0141 | 97.5131 | -21.5814 | 0.26581 | 0.19829 | 0.013431 | 0.092405 | 0.017246 | 0.33333 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 0.85483 | 0.00020644 | 301.6296 | 301.5534 | 159.4611 | 0.56992 | 3.9022 | 40.0176 | 24.0432 | 28.4415 | 3.8936 | 0.0083457 | 1.5577 | 2.3359 | 0.0052168 | -2.6945 | -0.017378 | 38.2435 | 1588.856 | 0.0019925
Remark= | "19:02:08 CO2 Mixer: CO2R -> 1800 uml"
Remark= | "19:03:23 Flow: H2OS -> 15.96 mmol/mol, resp=med"
15 | 19:04:20 | 3829.0002 | 0 | 10.0488 | 0.010175 | 173.0774 | 0.25312 | 2.3602 | 28.5434 | 2 | 4.6449 | 1 | 9.2897 | 28.445 | 28.5434 | 28.3034 | 1800.0225 | 1793.8792 | 15.8171 | 15.9628 | 39.6038 | 39.9686 | 341.9298 | 998.1574 | 39.4387 | 97.5108 | -26.3351 | 0.28179 | 0.25824 | 0.0037929 | 0.29717 | 0.0010009 | 0.33333 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 1.7096 | 0.00025312 | 301.6934 | 301.595 | 159.7052 | 0.56199 | 3.9167 | 40.1672 | 24.2044 | 28.4942 | 3.9056 | 0.010164 | 1.5565 | 2.349 | 0.0063535 | 16.8769 | 0.096482 | 38.0687 | 1792.4188 | 0.0021342
Remark= | "19:04:45 CO2 Mixer: CO2R -> 2000 uml"
Remark= | "19:06:43 Flow: H2OS -> 15.96 mmol/mol, resp=med"
16 | 19:11:56 | 4285.5002 | 0 | 4.9542 | 0.0068488 | 783.1975 | 0.1746 | 2.417 | 28.8005 | 2 | 4.6449 | 1 | 9.2897 | 28.7197 | 28.8005 | 28.5732 | 1999.5564 | 1998.0811 | 15.9376 | 15.9853 | 39.2713 | 39.3891 | 718.8951 | 1001.9908 | 39.6028 | 97.5034 | -30.8953 | 0.282 | 0.025497 | 0.00083441 | 0.11891 | 0.0012624 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111215 | 3.5945 | 0.0001746 | 301.9505 | 301.8697 | 160.3185 | 0.57825 | 3.9756 | 40.7737 | 24.7884 | 28.7601 | 3.9663 | 0.0068437 | 1.5586 | 2.4077 | 0.0042778 | 76.3645 | 0.39197 | 37.4754 | 1997.3611 | 0.00092953
Remark= | "19:12:14 CO2 Mixer: CO2R -> 400 uml"
Remark= | "19:17:02 Flow: H2OS -> 15.96 mmol/mol, resp=med"
Remark= | "19:17:30 Flow: H2OS -> 15.96 mmol/mol, resp=med"
Remark= | "19:19:10 CO2 Mixer: CO2R -> 1000 uml"
Remark= | "19:21:31 Flow: H2OS -> 15.96 mmol/mol, resp=med"
Remark= | "19:22:42 CO2 Mixer: CO2R -> 1600 uml"
Remark= | "19:26:37 Flow: H2OS -> 15.96 mmol/mol, resp=med"
Remark= | "19:26:49 CO2 Mixer: CO2R -> 1000 uml"
Remark= | "19:29:40 Flow: H2OS -> 15.96 mmol/mol, resp=med"
Remark= | "19:30:26 Flow: H2OS -> 15.96 mmol/mol, resp=med"
Remark= | "19:30:35 CO2 Mixer: CO2R -> 1200 uml"
Remark= | "19:31:59 Flow: H2OS -> 15.96 mmol/mol, resp=med"
Remark= | "19:32:30 Flow: H2OS -> 15.96 mmol/mol, resp=med"
17 | 19:33:03 | 5550.5003 | 0 | 5.8385 | 0.0077829 | -43.1193 | 0.18585 | 2.2658 | 28.1142 | 2 | 4.6449 | 1 | 9.2897 | 28.1304 | 28.1142 | 27.9999 | 1199.1516 | 1179.735 | 15.3569 | 15.9431 | 39.1556 | 40.6502 | 62.3976 | 1001.26 | 39.6265 | 97.4952 | -14.2894 | 0.25799 | 1.1639 | 0.0038316 | 0.70528 | 0.020719 | 0.33333 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 0.31199 | 0.00018585 | 301.2642 | 301.2804 | 160.2016 | 0.58047 | 3.8202 | 39.1832 | 23.2401 | 28.1223 | 3.822 | 0.0077764 | 1.5544 | 2.2676 | 0.0048609 | -4.2039 | -0.03655 | 39.0586 | 1178.8865 | 0.0019344
Remark= | "19:33:17 CO2 Mixer: CO2R -> 1000 uml"
Remark= | "19:35:56 Flow: H2OS -> 15.96 mmol/mol, resp=med"
18 | 19:37:25 | 5813.5002 | 0 | 4.6181 | 0.011988 | 351.3621 | 0.28097 | 2.2256 | 27.9193 | 2 | 4.6449 | 1 | 9.2897 | 27.8691 | 27.9193 | 27.7799 | 1000.0125 | 993.6446 | 15.5515 | 15.911 | 40.2644 | 41.1952 | 153.8132 | 1000.22 | 39.7598 | 97.5046 | -10.0838 | 0.27496 | 0.52933 | 0.0011244 | 0.59735 | 0.0016166 | 0.66667 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 0.76907 | 0.00028097 | 301.0693 | 301.0191 | 160.0352 | 0.5609 | 3.777 | 38.7369 | 22.8259 | 27.8942 | 3.7715 | 0.011973 | 1.5514 | 2.2201 | 0.0074844 | 34.2594 | 0.35361 | 39.4974 | 992.9735 | 0.0018369
Remark= | "19:37:42 CO2 Mixer: CO2R -> 600 uml"
Remark= | "19:39:40 Flow: H2OS -> 15.96 mmol/mol, resp=med"
Remark= | "19:40:05 Flow: H2OS -> 15.96 mmol/mol, resp=med"
19 | 19:40:32 | 6000.5003 | 0 | 0.7151 | 0.011747 | 480.5024 | 0.27997 | 2.2627 | 28.1189 | 2 | 4.6449 | 1 | 9.2897 | 28.0886 | 28.1189 | 27.9777 | 599.9924 | 598.6056 | 15.551 | 15.9838 | 39.7522 | 40.8586 | 127.2951 | 998.2554 | 39.6967 | 97.5079 | -3.8052 | 0.26595 | 0.32294 | 0.01056 | 0.30996 | 0.01132 | 0.33333 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 0.63648 | 0.00027997 | 301.2689 | 301.2386 | 159.7209 | 0.56071 | 3.8212 | 39.1889 | 23.2051 | 28.1038 | 3.8179 | 0.011732 | 1.5585 | 2.2593 | 0.0073339 | 46.8528 | 0.8027 | 39.1837 | 598.5017 | 0.00046817
Remark= | "19:40:43 CO2 Mixer: CO2R -> 400 uml"
Remark= | "19:43:46 Flow: H2OS -> 15.96 mmol/mol, resp=med"
20 | 19:46:31 | 6360.0002 | 0 | 0.59495 | 0.020762 | 339.3586 | 0.4935 | 2.259 | 28.0997 | 2 | 4.6449 | 1 | 9.2897 | 28.0486 | 28.0997 | 27.9473 | 400.0519 | 399.3695 | 15.5576 | 15.976 | 39.8652 | 40.9373 | 232.1319 | 998.3951 | 39.9221 | 97.5159 | -1.4911 | 0.27295 | 0.060966 | 0.002068 | 0.11291 | 0.0022273 | 0.66667 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 1.1607 | 0.0004935 | 301.2497 | 301.1986 | 159.7432 | 0.52396 | 3.8169 | 39.1417 | 23.1658 | 28.0742 | 3.8113 | 0.020716 | 1.5579 | 2.2534 | 0.012951 | 33.0929 | 0.84974 | 39.2742 | 399.283 | 0.0005852
Remark= | "19:49:57 T"
Remark= | "20:02:29 Coolers: Off"
Remark= | "20:02:52 Flow: Fixed -> 300 umol/s"